## Slide 1: BDD – A Practicable Approach for Computerised System Validation?
Bachelor Thesis SF2020 FHNW
30th of July 2020
Sabrina Leuenberger

## Slide 2: Agenda
1 | GAMP5 with BDD for OQ
2 | Feature Files: Specification and Testscript in One
3 | OQ Automation with BDD
4 | The Audit: We Are on the Right Way!
5 | Questions & Answers

## Slide 3: GAMP5 with BDD for OQ

## Slide 4: Computerised System Validation in the Pharmaceutical Industry
GAMP5
A Guide
Covers Validation of Computerised Systems during the whole life cycle of a product in a risk based approach.
        Fitness for Intended Use
        Compliance to Regulation
Patient Safety

## Slide 5: CSV needs Testing...

## Slide 6: ... a lot of Testing
    OQs  often done manually: checking activities based on test script  Time consuming, error prone and expensive.
https://commons.wikimedia.org/wiki/File:Panicking_Cartoon_Guy_Working_Overtime_With_A_Lot_Of_Paperwork.svg

## Slide 7: Let’s Automate!

## Slide 8: Our Questions

## Slide 9: In Four Steps to Our Results
BDD/GAMP5 Process
Prototype
Audit
Final Evaluation

## Slide 10: OQ = Formal Proof for Functional Specs (FS)
Test
Specifications
Test
Scripts
Test
Results
Test
Report
Testing
Test Analyst
Test Analyst
Tester
Tester
Test Reviewer
SME
Process Owner
SME
Process Owner
Test Reviewer
Quality Unit
Quality Unit
Quality Unit
writes
reviews
approves

## Slide 11: Important: Traceability
Test
Specifica-
tions
Test
Scripts
Test
Results
Test
Report
Testing
Functional
Specifications
User
Requirements
Traceability
Traceability

## Slide 12: Important: Traceability & Risks
Test
Specifica-
tions
Test
Scripts
Test
Results
Test
Report
Testing
Functional
Specifications
User
Requirements
R
R
R
Traceability
Traceability

## Slide 13: BDD can Automate FS-Testing…
Test
Specifica-
tions
Test
Scripts
Test
Results
Test
Report
Testing
Functional
Specifications
User
Requirements
R
R
R
Traceability
Traceability

## Slide 14: … and Much More!
Test
Specifica-
tions
Test
Scripts
Test
Results
Test
Report
Testing
Functional
Specifications
User
Requirements
R
R
R
Traceability
Traceability
Feature Files
Gherkin

## Slide 15: Feature Files: Specification and Testscript in One

## Slide 16: From Specification to Test Results with BDD
Discovery
Rules
Formulation
Feature Files
Automation
Cucumber Test Report
Examples

## Slide 17: The Feature File as Key Element

## Slide 18: BDD With Risk Management
Discovery
Rules
Formulation
Feature Files
Automation
Cucumber Test Report
Examples
R

## Slide 19: Feature File With Risk Management

## Slide 20: Feature File as Single Source of Truth
User
Requirements
Functional
Specifications
Test
Scripts
Feature 3
User Stories
FS
Test Scripts
Feature 2
User Stories
FS
Test Scripts
Feature 1
User Stories
FS
Test Scripts
Traceability

## Slide 21: OQ Automation with BDD
Notes: In Bezug Auf Bild in slide 7 mit Architektur

## Slide 22: OQ
Test
Specifications
Test
Scripts
Test
Results
Test
Report
Testing
Test Analyst
Test Analyst
Tester
Tester
Test Reviewer
SME
Process Owner
SME
Process Owner
Test Reviewer
Quality Unit
Quality Unit
Quality Unit
writes
reviews
approves

## Slide 23: Automated OQ
Test
Specifications
Test
Scripts
Test
Results
Test
Report
Testing
Test Analyst
Team
Cucumber
Cucumber & Tester
Test Reviewer
SME
Process Owner
SME
Process Owner
Test Reviewer
Quality Unit
Quality Unit
Quality Unit
writes
reviews
approves

## Slide 24: Architectural Needs

## Slide 25: OQ Test Results: In an Overview...

## Slide 26: ... But also in Detail

## Slide 27: Your Application is Documented
Cucumber-Scenarioo-plugin

## Slide 28: The Audit: We Are on the Right Way!

## Slide 29: The Prototype Is Compliant to GxP...
Overall the audited area meets GxP quality standards and
demonstrates compliance to GxPs quality systems.

## Slide 30: ... But Can Be Improved

## Slide 31: The Answers to Our Initial Questions

## Slide 32: A Long Story Short

## Slide 33: But Most Importantly: Let’s Continue!
Real Added Value
Artificial Intelligence
Full Automation:
IQ – OQ – PQ
Test Automation for
Device Integration

## Slide 34: Many Thanks!!!

## Slide 35: Many Thanks for Your Support!
  Wega: Daniel Juchli
  FHNW: Stephan Jüngling
  Mathias Fuchs
  Evelyne Daniel
  Andreas Hosbach
  It would not have been possible without you!

## Slide 36: Many Thanks for Your Attention!
OQ Test Automation
GxP Compliance
Behaviour Driven Development
?
?
?
?
?
?

## Slide 37
?
?

## Slide 38
OQ Test Automation
GxP Compliance
Behaviour Driven Development